## Оборудование
№ п/п | Наименование | Правообладатель | Кол-во | Срок поставки
1 | Сервера Lenovo ThinkSystem SR650 | Lenovo | 5 | 01.10.2021-10.10.2021
2 | Комплект коммутаторов Cisco Nexus 93180YC-FX | Cisco | 1 | 01.10.2021-10.10.2021
3 | Коммутатор DS-C9148S-12PK9 | Cisco | 2 | 01.12.2021-31.12.2021
4 | Система хранения IBM FS5200 | IBM | 1 | 01.12.2021-31.12.2021
Требования к поставщику:
1. Наличие у исполнителя партнерского статуса компании-производителя оборудования.
2. Наличие у исполнителя авторизационных писем на право заключения указанного договора от компаний-производителей оборудования или предлагаемого решения.
3. Наличие опыта поставки, монтажа, пуско-наладки телекоммуникационных решений (к закупочной документации Справка о перечне и объемах выполнения аналогичных договоров ).

## Комплект коммутаторов Cisco Nex
Комплект коммутаторов Cisco Nexus 93180YC-FX
Line Number | Part Number | Description | Qty
1.0 | N9K-C93180-FX-B24C | 2xNexus 93180YC-FX w/ 8x 100G Optics | 1
1.0.1 | CON-SNT-N93YCFXC | SNTC-8X5XNBD 2xNexus 93180YC-FX w/ 8x QSFP-100G-PSM4- | 1
1.1 | C1-SUBS-OPTOUT | OPT OUT FOR "Default" DCN Subscription Selection | 2
1.2 | MODE-NXOS | Dummy PID for mode selection | 2
1.3 | N9K-C93180YC-FX-B | Nexus 93180YC-FX bundle PID | 1
1.3.0.1 | CON-SNT-N93YCFXB | SNTC-8X5XNBD Nexus 93180YC-FX bun | 1
1.4 | NXOS-9.3.5 | Nexus 9500, 9300, 3000 Base NX-OS Software Rel 9.3.5 | 1
1.5 | NXK-ACC-KIT-1RU | Nexus 3K/9K Fixed Accessory Kit, 1RU front and rear removal | 1
1.6 | NXA-FAN-30CFM-F | Nexus Fan, 30CFM, port side exhaust airflow | 4
1.7 | NXA-PAC-500W-PE | Nexus NEBs AC 500W PSU - Port Side Exhaust | 2
1.8 | CAB-C13-C14-2M | Power Cord Jumper, C13-C14 Connectors, 2 Meter Length | 2
1.9 | NXOS-ES-XF | NX-OS Essentials license for Nexus 9300 (10G+) Platforms | 1
1.9.0.1 | CON-ECMU-N9SWESXF | SWSS UPGRADES NX-OS Essentials license for Nexus 9300 | 1
1.10 | NXK-PICK-BIDI | PID to select QSFP-100G-SR-BD Optic in the bundle | 1
1.11 | QSFP-40/100-SRBD | 100G and 40GBASE SR-BiDi QSFP Transceiver, LC, 100m OM4 MMF | 4
1.12 | N9K-C93180YC-FX-B | Nexus 93180YC-FX bundle PID | 1
1.12.0.1 | CON-SNT-N93YCFXB | SNTC-8X5XNBD Nexus 93180YC-FX bun | 1
1.13 | NXOS-9.3.5 | Nexus 9500, 9300, 3000 Base NX-OS Software Rel 9.3.5 | 1
1.14 | NXK-ACC-KIT-1RU | Nexus 3K/9K Fixed Accessory Kit, 1RU front and rear removal | 1
1.15 | NXA-FAN-30CFM-F | Nexus Fan, 30CFM, port side exhaust airflow | 4
1.16 | NXA-PAC-500W-PE | Nexus NEBs AC 500W PSU - Port Side Exhaust | 2
1.17 | CAB-C13-C14-2M | Power Cord Jumper, C13-C14 Connectors, 2 Meter Length | 2
1.18 | NXOS-ES-XF | NX-OS Essentials license for Nexus 9300 (10G+) Platforms | 1
1.18.0.1 | CON-ECMU-N9SWESXF | SWSS UPGRADES NX-OS Essentials license for Nexus 9300 | 1
1.19 | NXK-PICK-BIDI | PID to select QSFP-100G-SR-BD Optic in the bundle | 1
1.20 | QSFP-40/100-SRBD | 100G and 40GBASE SR-BiDi QSFP Transceiver, LC, 100m OM4 MMF | 4
1.21 | SFP-25G-AOC3M= | 25GBASE Active Optical SFP28 Cable, 3M | 20
1.22 | SFP-10G-AOC3M= | 10GBASE Active Optical SFP+ Cable, 3M | 20
1.23 | QSFP-100G-AOC10M= | 100GBASE QSFP Active Optical Cable, 10m | 4
1.24 | QSFP-100G-CU1M= | 100GBASE-CR4 Passive Copper Cable, 1m | 2

## Сервера Lenovo ThinkSystem SR65
Сервера Lenovo ThinkSystem SR650
Part number | Product Description | Qty
7X06CTO1WW | Server : ThinkSystem SR650 - 3yr Warranty | 1
AUVV | ThinkSystem SR650 2.5" Chassis with 8, 16 or 24 bays | 1
BFYE | Operating mode selection for: "Efficiency - Favoring Performance Mode" | 1
BAZR | Intel Xeon Gold 6258R 28C 205W 2.7GHz Processor | 2
B4H4 | ThinkSystem 64GB TruDDR4 2933MHz (2Rx4 1.2V) RDIMM | 24
AUR5 | ThinkSystem 2U/Twr 2.5" AnyBay 8-Bay Backplane | 1
5977 | Select Storage devices - no configured RAID required | 1
AUNL | ThinkSystem 430-8i SAS/SATA 12Gb HBA | 1
AUMV | ThinkSystem M.2 with Mirroring Enablement Kit | 1
B8HS | ThinkSystem M.2 5300 240GB SATA 6Gbps Non-Hot Swap SSD | 2
AURC | ThinkSystem SR550/SR590/SR650 x16/x8(or x16) PCIe FH Riser 2 Kit | 1
AUR3 | ThinkSystem SR550/SR650 x16/x8 PCIe FH Riser 1 Kit | 1
AUKK | ThinkSystem 10Gb 4-port SFP+ LOM | 1
ATZU | Emulex 16Gb Gen6 FC Single-port HBA | 2
BEAP | ThinkSystem Mellanox ConnectX-5 EN 10/25GbE SFP28 2-port PCIe Ethernet Adapter | 2
AVWF | ThinkSystem 1100W (230V/115V) Platinum Hot-Swap Power Supply | 2
6570 | 2.0m, 13A/100-250V, C13 to C14 Jumper Cord | 2
AUPW | ThinkSystem XClarity Controller Standard to Enterprise Upgrade | 1
AXCA | ThinkSystem Toolless Slide Rail | 1
AURD | ThinkSystem 2U left EIA Latch Standard | 1
B0MK | Enable TPM 2.0 | 1
B7XZ | Disable IPMI-over-LAN | 1
B4NL | ThinkSystem SR650 Refresh MB | 1
AUT1 | ThinkSystem SR650 Lenovo Agency Label | 1
AUSY | Lenovo ThinkSystem 2U 24 2.5"HDD Conf HDD sequence Label (12-15 NVMe) | 1
AUTF | ThinkSystem 4-7 sequence Label for 2U 2.5" | 1
AWFF | ThinkSystem SR650 WW Lenovo LPK | 1
AVKG | ThinkSystem SR630 MB to 10x2.5" HDD BP NVME cable | 1
AUSM | MS 2nd 2U 8X2.5" Cable Kit | 1
BE0D | N+1 Redundancy With Over-Subscription | 1
B0ML | Feature Enable TPM on MB | 1
AUAK | 2U Bracket for Mellanox ConnectX-4 Lx 2x25GbE SFP28 Adapter | 2
AVJ2 | ThinkSystem 4R CPU HS Clip | 2
AUSZ | ThinkSystem SR650 Service Label LI | 1
AWF9 | ThinkSystem Response time Service Label LI | 1
AURR | ThinkSystem M3.5 Screw for Riser 2x2pcs and Planar 5pcs | 4
B173 | Companion Part for XClarity Controller Standard to Enterprise Upgrade in Factory | 1
AUT8 | ThinkSystem 1100W RDN PSU Caution Label | 1
AUSA | Lenovo ThinkSystem M3.5" Screw for EIA | 4
B31F | ThinkSystem M.2 480GB SSD Thermal Kit | 1
AUTJ | ThinkSystem common Intel Label | 1
AVEN | ThinkSystem 1x1 2.5" HDD Filler | 8
AUSG | ThinkSystem SR650 6038 Fan module | 1
AUSF | Lenovo ThinkSystem 2U MS CPU Performance Heatsink | 2
AUTD | ThinkSystem SR650 model number Label | 1
AVWK | ThinkSystem EIA Plate with Lenovo Logo | 1
AUTA | XCC Network Access Label | 1
B0WB | ThinkSystem 8x25 Fixed Filler ASSM | 2
B0WV | ThinkSystem SR650 unuse BP Label 205W CPU | 2
AUTQ | ThinkSystem small Lenovo Label for 24x2.5"/12x3.5"/10x2.5" | 1
AURQ | Lenovo ThinkSystem 2U 3FH Riser Bracket | 1
AURP | Lenovo ThinkSystem 2U 2FH Riser Bracket | 1
AUSU | ThinkSystem Package for SR650 | 1
A2HP | Configuration ID 01 | 1
5374CM1 | Configuration Instruction | 1
AVE7 | ThinkSystem 430-8i SAS/SATA 12Gb HBA placement | 1
A2JX | Controller 01 | 1
A2HP | Configuration ID 01 | 1
5WS7A01544 | Foundation Service - 5Yr NBD Resp SR650 | 1
5641PX5 | XClarity Pro, Per Endpoint w/5 Yr SW S&S | 1
1341 | Lenovo XClarity Pro, Per Managed Endpoint w/5 Yr SW S&S | 1
3444 | Registration only | 1

## Коммутатор DS-C9148S-12PK9
Коммутатор DS-C9148S-12PK9
Line Number | Part Number | Description | Qty
2.0 | DS-C9148S-12PK9 | MDS 9148S 16G FC switch, w/ 12 active ports | 1
2.0.1 | CON-SNT-C48S | SNTC-8X5XNBD MDS 9148S 16G FC switch | 1
2.1 | DS-9148S-KIT-CSCO | MDS 9148S Accessory Kit for Cisco | 1
2.2 | CAB-C15-CBN | Cabinet Jumper Power Cord, 250 VAC 13A, C14-C15 Connectors | 1
2.3 | M9148S-PL12 | MDS 9148S 16G FC 12-port upgrade license | 1
2.4 | M91S5K9-8.4.2 | MDS 9148S NX-OS version 8.4(2) | 1
2.5 | DS-SFP-FC16G-SW | 16 Gbps Fibre Channel SW SFP+, LC | 24

## Система хранения IBM FS5200
Система хранения IBM FS5200
Product | Description | Qty
4662-6H2 | IBM FlashSystem 5200 NVMe Control Enclosure | 1
9730 | Power Cord - PDU Connection | 1
ADN1 | Order Type 1 Indicator - CTO | 1
AGJW | Shipping and Handling | 1
AGS7 | 19.2 TB NVMe Flash Core Module | 10
AHPE | AC Power Supply (Pair) | 1
AHZE | Hybrid Flash Indicator | 1
ALBJ | 16 Gb FC 4 Port Adapter Cards (Pair) | 1
ALBQ | SAS Expansion Enclosure Attach Card (Pair) | 1
ALG1 | 512 GB Base Cache | 1
ALH0 | Expert Care Indicator | 1
ALJ5 | EC Basic 5 Year | 1
4663-B05 | 5 year Expert Care Basic for FS5200 | 1
5775-STG | Support Line for Storage - 5 Year | 1
PACMDA | Support per Server (N/C) | 1